# # ABOUT THE DATASET

Title: Measurements from the Reading University Atmospheric Observatory, 1997-2023

Creators: Caleb Miller (https://orcid.org/0000-0002-1761-8718), R. Giles Harrison (https://orcid.org/0000-0003-0693-347X)

Organisation: University of Reading

Rights-holders: Caleb Miller, University of Reading

Publication Year: 2023

Description: This dataset contains surface meteorological measurements generated by recording instruments operated at the University of Reading Atmospheric Observatory, from 1997 to 2023. Multiple logging systems were developed during this time and used to obtain the meteorological and other associated measurements with accurate time synchronisation. The datafiles provided use a consistent format throughout the interval concerned, with 5-minute average values generated from 1 second samples.

Cite as: Miller and Harrison (2023): Measurements from the Reading University Atmospheric Observatory, 1997-2023. University of Reading. Dataset. http://dx.doi.org/10.17864/1947.000490.

Contact: c.s.miller@pgr.reading.ac.uk

Acknowledgements: The instrumentation used at the Observatory for the measurements in the dataset was originally funded by the Department of Meteorology, University of Reading. The tasks of instrumentation installation and calibration, data logging system construction and wiring, data curation and record keeping have been undertaken by the successive technical and academic staff of the Department.

# # TERMS OF USE

Copyright 2023 Caleb Miller, University of Reading. This dataset is licensed under a Creative Commons Attribution 4.0 International Licence: https://creativecommons.org/licenses/by/4.0/.

# # PROJECT AND FUNDING INFORMATION

Title: Improvement of fog forecasting using atmospheric electricity (PhD project)

Dates: 2021-2025

Funding organisation: National Environment Research Council (NERC)

Grant no.: 2600399 (NE/S007261/1)

# # CONTENTS

This archive contains daily data files of meteorological data measured at the Reading University Atmospheric Observatory on the Whiteknights campus, approximately continuously between 1997 and 2023. More detailed site information is provided at https://research.reading.ac.uk/meteorology/atmospheric-observatory/ .

Some years are missing some data. The numbers of days of data available for each year are listed below:

1997: 343
1998: 360
1999: 351
2000: 357
2001: 313
2002: 280
2003: 363
2004: 366
2005: 360
2006: 365
2007: 365
2008: 366
2009: 364
2010: 360
2011: 362
2012: 357
2013: 359
2014: 309
2015: 161
2016: 365
2017: 365
2018: 365
2019: 365
2020: 360
2021: 365
2022: 365
2023: 124 (cutoff at 2023-05-04)

During this time interval, four logging systems were employed operationally, all with different output formats and data columns. The systems had different names and operating durations:

- Corrdisp (1997-01-02 to 2007-07-01)

- METFiDAS-1 (and METFiDAS-2) (2007-01-02 to 2014-07-27)

- METFiDAS-3a (2014-08-25 to 2015-03-16)

- METFiDAS-3b (2015-2023).

The original system, Corrdisp, provided a “Corridor Display” in the entrance of the old Meteorology Department building at Earley Gate which was subsequently moved to the new Meteorology Building during 1997, itself renamed in 2022 as the Brian Hoskins Building. The later “Fidas” systems were named after “Foyer Information Data Acquisition System,” as they provided displays in the Meteorology Building’s foyer. The capacities of the systems were increased as more instruments and sensors were added.

Datafiles originally generated by the different logging systems have been converted to a consistent format, approximately that of the later files to allow uniform processing of the entire series. Quantities provided in the datafiles include air temperature, humidity, wind speed and direction, solar radiation, net radiation, and ground heat flux. These quantities and their measurements are described in (Harrison, 2015).

The dataset also originally included records from research instruments. Of these, only the atmospheric electricity quantities have been retained, which are central to the fog forecasting project motivating the dataset’s generation. Information on the atmospheric electricity measurements is provided at https://research.reading.ac.uk/meteorology/atmospheric-observatory/atmospheric-electricity/ ,

# # FILE FORMAT

The files in this archive have a consistent naming format

YYYY-AVG5-DOY.csv

where YYYY is the four-digit year (1997 to 2023) and DOY is the day of year (001…365, or 366 in a leap year) for which the file is concerned.

File column descriptions and units are listed below. Note that out-of-range values are left with no value (blank) between commas in the CSV file.

| Column        | Units                 | Description                       |

| ------------- | --------------------- | --------------------------------- |

| TimeStamp     | YYYY-MM-DD HH:MM:SS   | Datetime string format            |

| DecHour       | hours                 | Hours of current day              |

| DecDay        | days                  | Days of current year              |

| -             |                       |                                   |

| -             |                       |                                   |

| -             |                       |                                   |

| Sg            | W/m^2                 | Global solar irradiance           |

| Sd            | W/m^2                 | Diffuse solar irradiance          |

| Sb            | W/m^2                 | Direct beam solar irradiance      |

| Sb(csd3)      | W/m^2                 | (empty)                           |

| -             |                       |                                   |

| -             |                       |                                   |

| Sdw           | W/m^2                 | Shortwave down                    |

| Suw           | W/m^2                 | Shortwave up                      |

| Ldw(uc)       | W/m^2                 | Longwave down                     |

| Luw(uc)       | W/m^2                 | Longwave up                       |

| CNR4T         | degC                  | (empty)                           |

| -             |                       |                                   |

| Rn            | W/m^2                 | Net radiation                     |

| G             | W/m^2                 | Ground heat flux density          |

| SoilMoisture  | %                     | (empty)                           |

| Td(asp)       | degC                  | (empty)                           |

| RH            | %                     | Relative humidity                 |

| -             |                       |                                   |

| Sdur          | mins                  | Sunshine duration                 |

| -             |                       |                                   |

| Ttest         | degC                  | Ttest                             |

| Td2           | degC                  | (empty)                           |

| Td            | degC                  | Dry bulb temperature              |

| Tw            | degC                  | Wet bulb temperature              |

| -             |                       |                                   |

| Tconc         | degC                  | Concrete temperature              |

| Tgrass        | degC                  | Grass temperature                 |

| Tsoil         | degC                  | Soil surface temperature          |

| TSoil5        | degC                  | Soil 5cm temperature              |

| TSoil10       | degC                  | Soil 10cm temperature             |

| TSoil20       | degC                  | Soil 20cm temperature             |

| TSoil30       | degC                  | Soil 30cm temperature             |

| TSoil50       | degC                  | Soil 50cm temperature             |

| TSoil100      | degC                  | Soil 100cm temperature            |

| T0.56         | degC                  | Temperature (0.56m height)        |

| T1.12         | degC                  | Temperature (1.12m height)        |

| T2.24         | degC                  | Temperature (2.24m height)        |

| T4.48         | degC                  | Temperature (4.48m height)        |

| PointDischarge| V                     | Point discharge current    |

| -             |                       |                                   |

| PG            | V/m                   | Potential gradient                |

| iCP           | pA                    | Corrugated plate current density  |

| iFP           | pA                    | Flat plate current density        |

| U             | m/s                   | (empty)                           |

| V             | m/s                   | (empty)                           |

| W             | m/s                   | (empty)                           |

| -             |                       |                                   |

| -             |                       |                                   |

| -             |                       |                                   |

| -             |                       |                                   |

| -             |                       |                                   |

| -             |                       |                                   |

| Dirn10        | degs                  | 10m wind direction (CLwise north) |

| U0.56         | m/s                   | Wind speed (0.56m height)         |

| U0.8          | m/s                   | Wind speed (0.8m height)          |

| U1.12         | m/s                   | Wind speed (1.12m height)         |

| U1.6          | m/s                   | Wind speed (1.6m height)          |

| U2            | m/s                   | Wind speed (2m height)            |

| U2.24         | m/s                   | Wind speed (2.24m height)         |

| U3.2          | m/s                   | Wind speed (3.2m height)          |

| U4.48         | m/s                   | Wind speed (4.48m height)         |

| U5            | m/s                   | Wind speed (5m height)            |

| U6.4          | m/s                   | Wind speed (6.4m height)          |

| U10           | m/s                   | Wind speed (10m height)           |

| -             |                       |                                   |

| -             |                       |                                   |

| -             |                       |                                   |

| -             |                       |                                   |

| -             |                       |                                   |

| -             |                       |                                   |

| -             |                       |                                   |

| -             |                       |                                   |

| -             |                       |                                   |

| Rain          | mm                    | Rainfall                          |

| -             |                       |                                   |

| -             |                       |                                   |

| -             |                       |                                   |

| P             | hPa                   | Station pressure                  |

# # CHANGES TO DATA

Some quality control has been applied to the data, and values removed if they are unphysical or beyond the expected range. Values that are not within the following thresholds are removed (left as blank).

| P         | 900 hPa   | 1100 hPa         |

| Td        | -30 degC  |    -             |

| Tw        | -30 degC  | 60 degC          |

| Tconc     | -15 degC  |    -             |

| RH        | 20 %      | 120 %            |

| Dirn10    | 0 deg     | 360 deg          |

| U2        |    -      | 50 m/s           |

| G         | -100 W/m2 | 100 W/m2         |

| Sg        |    -      | 1000 W/m2        |

| Rn        | -500 W/m2 | 1000 W/m2        |

In addition, some data columns may not be carried forward into the archive’s CSV files if the data was not widely available across many dates (such as the soil moisture measurements).

Research channels were reported as raw voltage measurements but changed across the years of measurements as different instruments were evaluated and different projects undertaken. The only research channel which has been retained from the early Corrdisp files was research channel B3, which was used for electric field mill measurements after 2005-08-02.

Some columns have been renamed for consistency.

Corrdisp reported time in local time, which has been converted to UTC. At the outset, times were set using a radio clock module. Network time was subsequently added.

The signal conditioning electronics used has been described in the literature, for air temperature, (Harrison & Rogers, 2006), and radiation (Harrison & Knight, 2006). Atmospheric electricity calibrations are described by (Bennett & Harrison, 2006a, 2006b, 2008b, 2008a). The point discharge instrument is described by (Marlton et al., 2013)

# # REFERENCES

Bennett, A. J., & Harrison, R. G. (2006a). In situ calibration of atmospheric air conductivity instruments. Review of Scientific Instruments, 77(1). https://doi.org/10.1063/1.2162459

Bennett, A. J., & Harrison, R. G. (2006b). Surface determination of the air-earth electrical current density using co-located sensors of different geometry. Review of Scientific Instruments, 77(6). https://doi.org/10.1063/1.2213210

Bennett, A. J., & Harrison, R. G. (2008a). Surface measurement system for the atmospheric electrical vertical conduction current density, with displacement current density correction. Journal of Atmospheric and Solar-Terrestrial Physics, 70(11–12). https://doi.org/10.1016/j.jastp.2008.04.014

Bennett, A. J., & Harrison, R. G. (2008b). Variability in surface atmospheric electric field measurements. Journal of Physics: Conference Series, 142. https://doi.org/10.1088/1742-6596/142/1/012046

Harrison, R. G. (2015). Meteorological measurements and instrumentation. In Meteorological Measurements and Instrumentation (Vol. 9781118745809). https://doi.org/10.1002/9781118745793

Harrison, R. G., & Knight, J. R. (2006). Thermopile radiometer signal conditioning for surface atmospheric radiation measurements. Review of Scientific Instruments, 77(11). https://doi.org/10.1063/1.2370752

Harrison, R. G., & Rogers, G. W. (2006). Fine wire resistance thermometer amplifier for atmospheric measurements. Review of Scientific Instruments, 77(11). https://doi.org/10.1063/1.2400013

Marlton, G. J., Harrison, R. G., & Nicoll, K. A. (2013). Note: Atmospheric point discharge current measurements using a temperature-compensated logarithmic current amplifier. Review of Scientific Instruments, 84(6). https://doi.org/10.1063/1.4810849